## Slide 1
Summer Research Internship
Louisiana Solar Energy Laboratory

## Slide 2
Presented by ROY Jui
An Analytical Study on the Design of Solar Power Plants for
Residential and Commercial Sector: Practical Implementation and Cost Analysis
Supervised by Terrence L. Chambers, Ph.D., P.E.
Donald & Janice Mosing BORSF Endowed Chair in Mechanical Engineering
Director, EDA Green Hydrogen Center of Excellence
Director, Energy Efficiency and Sustainable Energy Center
University of Louisiana at Lafayette

## Slide 3
Problem Statement
Challenge in Robust Model Development
Real-World Implementation Barriers
Complexity in Electrical and Mechanical Design
Uncertainty in Economic Viability

## Slide 4
Research Goal
Develop site-specific PV system models
Address real-world constraints in design and implementation
Evaluate economic feasibility via LCOE, payback, etc.

## Slide 5
Objectives
of the
Internship
Apply design theories through hands-on experience
Analyze economic performance using real data
Conduct site surveys, system sizing, energy simulation

## Slide 6
Residential Solar
Sized for Individual Homes (3–10 kW)
Higher Cost per Watt, Offset by Incentives
Supports Decentralized & Resilient Energy
Grid-tied with net metering; micro/string inverters
Payback: ~7–12 years, depending on site and usage
Commercial Solar
Large-Scale Systems (30 kW–MW Range) flat-roof or ground-mounted systems
Lower cost per watt due to economies of scale
Payback: ~5–10 years with PPAs, ITC, and MACRS benefits
Enhances Grid Resilience and Sustainability Goals

## Slide 7
Site Survey
Customer Info
Utility
Service Entrance
General Site Information
Environmental Info
Possible Array Locations
Roof Support Structure

## Slide 8
Preliminary System Sizing
System Capacity & Layout (system size, area)
Energy Yield Estimation
Cost & Incentives
Payback & Savings
Levelized Cost of Energy (LCOE)
Financial Structure (loan, interest, down payment)

## Slide 9
Component Selection (Inverter, Module)
Temperature Adjustments
Voltage & Current Limits Check
String Configuration
Physical & Electrical Layout
System Summary
String Sizing

## Slide 10
Actual System Size
Finalized System Configuration
Cost & Incentives
Performance & Payback
Life Cycle & LCOE Analysis
Loan Financing Overview

## Slide 11
Electrical Integration
DC Side Wiring & Safety Devices (Rapid Shutdown, Disconnects, Voltage Drop)
Inverter and AC Side Integration (AC Disconnects, Output Wiring, Utility Tie-in)
Overcurrent & Grounding Protection (OCPDs, Bonding, Grounding Conductors)
System Performance (Voltage Drop)

## Slide 12
Mechanical Integration
Racking Selection & Layout (rail type, slope compatibility)
Weight & Load Distribution (array + racking in psf)
Wind & Snow Load Analysis
Attachment Point Design (lag screw size, spacing, depth)
Environmental Durability (corrosion-resistant hardware)

## Slide 13
Code Compliance and Design Standards
Electrical Design – NEC Standards (Articles 690, 705, 250, 310, 110)
Structural Design – ASCE 7 & Local Codes
Equipment Certification (UL-listed, IEC 61215, IEEE 1547/1741)
Safety & Reliability Assurance (Voltage drop, grounding, OCPDs, bonding)

## Slide 14
Result Summery

## Slide 15
Energy and Economic Performance
Chart: 
| Commercial | Residential_1 | Residential_2
Expected Annual Production | 45300 | 6854 | 3607
Chart: 
| Commercial | Residential_1 | Residential_2
LCOE | 0.123 | 0.141 | 0.161

## Slide 16
Analysis
Larger Systems Reduce Energy Cost
Smaller Systems Have Higher Cost per Watt
Energy Offset and Payback Vary by Scale
Design Orientation Affects System Efficiency
Commercial Design Minimizes Voltage Loss

## Slide 17
Discussion
Theory Meets Real-World Complexity
Limitation: No Battery Storage
Policy Sensitivity in Economic Modeling
Tools Were Sufficient but could be improved
Cost is still higher for the low electricity rate in Louisiana

## Slide 18
Conclusion
Integrated Design Approach Is Key to PV Success
Commercial Systems Achieve Better Cost Efficiency
Residential Systems Need Smart Design and Incentives
Future Improvements Depend on Storage and Control